## Prerequisite - Central FW
To be filled by Local IT Manager
To be filled by Central Network Team
Migration Checklist : < Site >
Phase ǀ
Migration Type | Firewalls
Core Switch to be changed ?
Site type
| SFP availables ? |  |  | If yes, give us the port numbers
How many Core/Central technical room ?
Phase ǁ
Type | Element | Amount | Done | Comments
Devices and cables | Core switch | 2
| Firewalls | 2
| Console cable for the Firewall | 1
| Power cable for the Firewalls | 2 |  | Sent with the firewalls
| RJ45 cables for office core switch-FW | 6
| RJ45 cables for HA firewalls | 1
Free ports | On Core switch | 6
| On Access switch | 6 |  | 3 ports on each switch
Installation | Firewalls installed on same rack as CDR | -
| Rack unit for each Firewall | 2
| Power supply on UPS for each firewall | -
2
1
2
Yes
No
Physical
Virtual
Plant
Office
Yes
No

## Prerequisite - Internet FW
| To be filled by Local IT Manager |  |  |  | 0 | To be filled by Local IT Manager |  |  |  | 0 | To be filled by Local IT Manager |  |  |  | 0 | To be filled by Local IT Manager
| To be filled by Central Network Team |  |  |  |  | To be filled by Central Network Team |  |  |  |  | To be filled by Central Network Team |  |  |  |  | To be filled by Central Network Team
Migration Checklist : < Vendôme (Céline Portello) > |  |  |  |  | Migration Checklist : < Evron (Patrice Gendron) > |  |  |  |  | Migration Checklist : < Dole (Thierry Projean) > |  |  |  |  | Migration Checklist : < Sablé (Sebastien Quettier) > |  |  |  |  | Migration Checklist : < Lons (Georges Gagliano) > |  |  |  |  | Migration Checklist : < Pacy (Mohamed Ziar) > |  |  |  |  | Migration Checklist : < Saint-Nazaire (Eric Joyez) >
Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ
Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  | 2 fw mais un qui éteint
| Site type |  |  |  |  | Site type |  |  |  |  | Site type |  |  |  |  | Site type |  |  |  |  | Site type |  |  |  |  | Site type |  |  |  |  | Site type
| Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel
| Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh
| Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ?
| Change of the switch core |  |  | Tous les switchs à changer depuis 1 an |  | Change of the switch core |  |  | Ref : Catalyst 3850 24 S |  | Change of the switch core |  |  |  |  | Change of the switch core |  |  |  |  | Change of the switch core |  |  |  |  | Change of the switch core |  |  | Switchs de 2008 (voir si toujours maintenu) |  | Change of the switch core
| Providers |  |  | Orange (1 fibre + 1 fibre backup) |  | Providers |  |  | Orange (1 fibre + 1 backup) |  | Providers |  |  | Orange (1 fibre + 1 backup) |  | Providers |  |  | Orange (2 fibres de 2 endroits différents) |  | Providers |  |  | OBS (1 fibre + 1 backup) |  | Providers |  |  | 2 fibres sur 1 câble (séparé en 2 dans l'usine) |  | Providers |  |  | OBS (1 lien cuivre + 1 fibre)
| SFP availables ? |  |  | A revoir |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | Sur tous les ports du switch |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | SFP dispo sur switch mais pas de module en stock
| How many Core/Central technical room ? |  |  |  |  | How many Core/Central technical room ? |  |  | Baie informatique dans le sous sol |  | How many Core/Central technical room ? |  |  |  |  | How many Core/Central technical room ? |  |  | 1 autocomm (arrivé des fibres de deux endroits différents) |  | How many Core/Central technical room ? |  |  |  |  | How many Core/Central technical room ? |  |  | 1 local info |  | How many Core/Central technical room ? |  |  | Mini local IT (pas de clim)
| Induction places | Fibre arrive de la rue derrière le mur de la baie |  |  |  | Induction places | Fibre 1 : Arrive devant le bat administratif et Fibre 2 : Arrive parking Evron 2 |  |  |  | Induction places | arrivent de 2 points différents mais arrivent au même local (1 devant et 1 derrière) |  |  |  | Induction places | 1 fibre arrive au centre de l'usine dans les combles à l'autocomm et l'autre arrive de Solesmes à l'atelier, roulée dans les combles |  |  |  | Induction places | Fibre principale dans local technique principal et fibre secondaire arrive dans la maintenance (arrivé extérieure de 2 endroits différents |  |  |  | Induction places | Câble arrive par l'avant de l'usine côté administratif |  |  |  | Induction places | Ligne cuivre et fibre arrivent dans le local mais on ne sait pas par où
Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ
Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments
Devices and cables | Core switch | 2 |  | Sûrement à changer | Devices and cables | Core switch | 2 |  | Les 2 dans le bat administratif (aucun dans le second local) | Devices and cables | Core switch | 2 |  |  | Devices and cables | Core switch | 2 |  |  | Devices and cables | Core switch | 2 |  |  | Devices and cables | Core switch | 2 |  | A voir pour les changer (date de 2008) | Devices and cables | Core switch | 2
| Firewalls | 2 |  |  |  | Firewalls | 2 |  | Les 2 dans le bat admin. Aucun firewall dans le 2ème local |  | Firewalls | 2 |  |  |  | Firewalls | 2 |  |  |  | Firewalls | 2 |  |  |  | Firewalls | 2 |  |  |  | Firewalls | 2 |  | 1 seul fw en marche
| Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls
| Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls
| RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  | 1 seul fw avec 3 RJ45, l'autre éteint
| RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  | 2 fw non reliés
Free ports | On the core switch | 6 |  | pas de place et manque de câbles | Free ports | On the core switch | 6 |  | 3 ports on each switch (ports 12 à 14) | Free ports | On the core switch | 6 |  | 3 ports on each switch (ports 16 à 24) | Free ports | On the core switch | 6 |  | 3 ports on each switch Pour le CDR1 - FR-SABCDR01-A : - Port Gi1/0/13, - Port Gi1/0/15, - Port Gi1/0/18 Pour le CDR2 – FR-SABCDR01-B : - Port Gi1/0/12, - Port Gi1/0/14, - Port Gi1/0/18 | Free ports | On the core switch | 6 |  | 3 ports on each switch (ports 16 à 21) | Free ports | On the core switch | 6 |  | 3 ports on each switch (ports 6, 8 et 12) | Free ports | On the core switch | 6 |  | 3 ports on each switch sur le FR-SNASWI01 : ports 33, 35, 36 sur le FR6SNASWI03 : ports 7, 9, 11
| On the access switch | 0 |  |  |  | On the access switch | 0 |  |  |  | On the access switch | 0 |  |  |  | On the access switch | 0 |  |  |  | On the access switch | 0 |  |  |  | On the access switch | 0 |  |  |  | On the access switch | 0
Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | -
| Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2
| Power supply on UPS for each firewall | - |  | Onduleur non connecté aux fw |  | Power supply on UPS for each firewall | - |  |  |  | Power supply on UPS for each firewall | - |  |  |  | Power supply on UPS for each firewall | - |  | onduleur général |  | Power supply on UPS for each firewall | - |  |  |  | Power supply on UPS for each firewall | - |  |  |  | Power supply on UPS for each firewall | - |  | Onduleur sur site mais relié à rien
IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide
Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | -
Migration Checklist : < La Ferté (Céline Portello) > |  |  |  |  | Migration Checklist : < Mayenne (Patrice Gendron) > |  |  |  |  | Migration Checklist : < Hayze Dijon (Thierry Projean / Georges Gagliano) > |  |  |  |  | Migration Checklist : < LDC (Sebastien Quettier) > |  |  |  |  | Migration Checklist : < MVQR (Georges Gagliano) >
Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ |  |  |  |  | Phase ǀ
Migration Type | Firewalls |  |  | Aucun Firewalls | Migration Type | Firewalls |  |  |  | Migration Type | Firewalls |  |  | Aucun firewalls | Migration Type | Firewalls |  |  | Aucun firewalls | Migration Type | Firewalls
| Site type |  |  |  |  | Site type |  |  |  |  | Site type |  |  |  |  | Site type |  |  |  |  | Site type
| Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel |  |  |  |  | Zscaler tunnel
| Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh |  |  |  |  | Full- mesh
| Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ? |  | Multi-Link |  |  | If yes, Downoload and Upload Speed ?
| Change of the switch core |  |  | Tous les switchs sont à changer (1 seul switch core) |  | Change of the switch core |  |  | Revoir avec l'ITM et demander pourquoi il veut les changer |  | Change of the switch core |  |  | Aucun CDR |  | Change of the switch core |  |  | Switchs très vieux |  | Change of the switch core |  |  | Changement à voir (CDR date de 2009)
| Providers |  |  | Orange (1 fibre) |  | Providers |  |  | Orange (1 fibre) |  | Providers |  |  | Orange (1 fibre + 1 backup) |  | Providers |  |  | (1 fibre) |  | Providers |  |  | OBS (1 FTTH)
| SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | If yes, give us the port numbers |  | SFP availables ? |  |  | If yes, give us the port numbers
| How many Core/Central technical room ? |  |  | Pas de local pour les baies |  | How many Core/Central technical room ? |  |  | 3 baies dans un local technique |  | How many Core/Central technical room ? |  |  | Baie dans un coin de l'entrepôt |  | How many Core/Central technical room ? |  |  |  |  | How many Core/Central technical room ? |  |  | pesudo-local technique
| Induction places | Pareil que pour Vendôme |  |  |  | Induction places | Fibre arrive du côté route de Parigné vers le local technique |  |  |  | Induction places | 2 fibre arrivent dans la même baie |  |  |  | Induction places | La fibre arrive dans LDC DPE dans un local fermé lié à la maintenance |  |  |  | Induction places | Fibre arrive dans le pseudo-local technique (arrive par l'arrière de MVQR)
Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ |  |  |  |  | Phase ǁ
Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments | Type | Element | Amount | Done | Comments
Devices and cables | Core switch | 2 |  | 1 seul switch | Devices and cables | Core switch | 2 |  |  | Devices and cables | Core switch | 2 |  | Aucun CDR | Devices and cables | Core switch | 2 |  | Seulement un simple switch | Devices and cables | Core switch | 2 |  | Voir pour changer
| Firewalls | 2 |  | Pas de firewall |  | Firewalls | 2 |  | Peut-être 1 seul fw (à voir) |  | Firewalls | 2 |  | Aucun Firewalls |  | Firewalls | 2 |  | Aucun firewalls |  | Firewalls | 2
| Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls |  | Console cable for the Firewall | 1 |  | Sent with the firewalls
| Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls |  | Power cable for the Firewalls | 2 |  | Sent with the firewalls
| RJ45 cables for office core switch-FW | 6 |  | Pas assez de câbles |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6 |  |  |  | RJ45 cables for office core switch-FW | 6
| RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1 |  |  |  | RJ45 cables for HA firewalls | 1
Free ports | On the core switch | 6 |  | 3 ports on each switch (manque 1 switch) | Free ports | On the core switch | 6 |  | 3 ports on each switch (ports 12 à 14) | Free ports | On the core switch | 6 |  | 3 ports on each switch (pas de CDR) | Free ports | On the core switch | 6 |  | 3 ports on each switch | Free ports | On the core switch | 6 |  | 3 ports on each switch (voir pour changer les CDR)
| On the access switch | 0 |  |  |  | On the access switch | 0 |  |  |  | On the access switch | 0 |  | 3 ports on each switch |  | On the access switch | 0 |  |  |  | On the access switch | 0
Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  |  | Installation | Firewalls installed on same rack as CDR | - |  | Aucuns firewalls | Installation | Firewalls installed on same rack as CDR | - |  | Aucun firewall | Installation | Firewalls installed on same rack as CDR | -
| Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  |  |  | Rack unit for each Firewall | 2 |  | Aucuns firewalls |  | Rack unit for each Firewall | 2 |  | Aucun firewall |  | Rack unit for each Firewall | 2
| Power supply on UPS for each firewall | - |  | Pas d'onduleur |  | Power supply on UPS for each firewall | - |  |  |  | Power supply on UPS for each firewall | - |  | Aucuns firewalls |  | Power supply on UPS for each firewall | - |  | Pas d'onduleur |  | Power supply on UPS for each firewall | -
IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide | IP Addresses | Public IP fixed by operators (/29) | - |  | To provide
Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | - |  |  | Provider's ports | Ports should be on Access Mode | -
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2
2
1
Yes
No
Physical
Virtual
Plant
Office
Yes
No
Yes
No
Yes
No
Yes
No
1
2